## Slide 1: Extensible Medical Image Processing Software Platform

## Slide 2
Background
Time-Density Curve
Multiple Series
Segmentation

## Slide 3
Goal
1, Load DICOM folder s and divide DICOM files into different volume properly .
2, Image Display.
4, Good extensibility.
3, Segmentation, registration, and other algorithms.

## Slide 4
My software based on
Qt and ITK
Image Browser
Algorithm Desktop

## Slide 5
Features of Image Browser
Rearrange
according to
slice location,
slice thickness,
series id
and so on

## Slide 6
Features of Image Browser
Different view mode

## Slide 7
Features of Image Browser
Measurements

## Slide 8
Features of algorithm desktop
Left part: algorithm button panel.
Right part: desktop that places tiles representing different data types
such as volumes, curves, multiple series and so on.

## Slide 9
Features of algorithm desktop
Each tile has its own openwith menu, its own viewer. If you know how to open a jpg file on Windows, you know how to display a curve of your data on this software.

## Slide 10
How to run an algorithm ?
STEP I:
Drag your inputs, for exmple two volumes , on to a blank area on algorthm desktop, you will get:

## Slide 11
STEP II:
How to run an algorithm ?
Use your mouse to select the two tiles.
STEP III:
Click an algorithm button for example subtraction
Results:
Fill out the argument table, if the algorithm needs you to.
STEP IV:
Outputs are generated right beside your last input.

## Slide 12
Extensibility
Abstract algo base class
Your own class
-----------------------
void Run();
void CheckInputs();
Wrap the class into a DLL file
Classes in DLL are loaded by the main frame.
DLL plugin

## Slide 13
Extensibility
Scrypt plugin based on XML
This type of plugin is used to integrate algorithms in DLL files together.
<Test>
<version>1</version>
<name>KidneySeg</name>
<category>Kidney</category>
<algo>Subtraction</algo>
<algo>Gaussian</algo>
<algo>Threshold</algo>
<algo>Opening</algo>
<algo>LargestComponent</algo>
</Test>
This example shows how to integrate Subtraction, Gaussian, Threshold, Opening and LargestComponent into a new algorithm called KidneySeg. When you run KidneySeg, it’s equivalent to run those five algorithm one by one with one’s output as next one’s input.

## Slide 14
Extensibility
Extensible modules :
1, Algorithm(inherites algorithm class).
2, Data type(inherites data factory class).
3, Data viewer(inherites viewer factory class, when browsing one tile, a corresponding viewer instance will be created by your class).

## Slide 15
Thank You